PIXLEY PUBLIC UTILITY DISTRICT

P.O. BOX 535/232 EAST DAVIS AVENUE

PIXLEY, CALIFORNIA 93256

(559)757-3878/FAX: (559)757-3459

AGENDA

REGULAR MEETING

BOARD OF DIRECTORS

DECEMBER 5TH, 2022

6:30 P.M.

*NOTE: IF YOU WOULD LIKE TO CONFERENCE CALL INTO THE MEETING THE NUMBER IS: (701)802-5228 AND THE ACCESS CODE IS: 173772

- CALL TO ORDER

- MINUTES

- BILLS TO BE PAID

PUBLIC COMMENTS

- Members of the public may address the Board during public comments regarding any matter which is under the jurisdiction of the Board.  Comments shall be limited to three minutes per person with thirty minutes overall for the entire comments period, unless otherwise indicated by the Board President.

- UPDATE/KATIE HAVENS/SOURCE/COMMUNITY DRINKING WATER

PROGRAM

CONVENE TO CLOSED SESSION

- Conference with Real Property Negotiations (Government Code section 54956.8)

Property: Tait Property/931 South Main Street/APN: 299-140-003

Agency Negotiation: Chad Lew and Matt Hamilton

Negotiating Parties: Pixley PUD and Jose Carlos Ramos

Under Negotiation: Price, terms of payment and contract provisions

RECONVENE TO OPEN SESSION

- UPDATE/T-MOBILE

- Discussion, consideration and possible action on T-Mobile placing equipment on Water Tower

- CORREA LAND COMPANY/WILL SERVE LETTER REQUEST FOR 1072

EAST ELLSWORTH AVENUE

- PROVOST & PRITCHARD/DEVELOPMENT UPDATE AND REPORT ACTIVE

ITEMS

Remaining Available Water Units -                                                              133 units

Will Serve Letters

Elm St. – Medrano (5-16-19)                                                                              1

1575 N. Park (5-28-19)                                                                                        1

1224 E. Terra Bella Ave. (6-24-19)                                                                     1

Walnut – Romero (09-17-19)                                                                              2

521 Walnut – Coronel (10-8-19)                                                                         1

Mercado – Walnut (11-19-19/11-7-22)	                                                             1

Orneles – 270 W. Court Ave. (12-20-19                                                             3

Mata – 1021 S. Walnut (2-4-20)                                                                          1

Navarro – 637 W. Compton (6-29-20)                                                               1

Campos – Pine St                                                                                                 2

N&S Truck Stop (11-2-21)                                                                                 22

Palma-Quiroz (7-11-22)                                                                                        1

Correa (7-11-22)                                                                                                    1

Camp (8-1-22)                                                                                                        1

Correa (11-7-22)                                                                                                    1

Thandi/Singh (12-5-22)                                                                                        24

Remaining Available Water Units                                                                68 units

Note: Items in red denote should be confirmed if built, renewed, or removed.

Other – It is understood that the developer of the travel center north of Howard Avenue near Park Drive may be constructing the water line from Howard Avenue north to our water main extension project in the spring of 2023.

Miscellaneous - It is noted that a couple of developers have approached the District with questions regarding water and sewer capacity to support additional development.  General information has been provided.  It is recommended that developers be required to submit written requests to the District to determine what level of effort is appropriate and what costs the developers would be required to cover.

Approve Singh will serve letter.

INFRASTRUCTURE PLANNING

Well and Waterline Replacement Project

Near term activity for the month:

- Work is proceeding on the final punch list and Notice of Completion.  Michael to send documents for Board review.

- The Notice of Completion is attached for review and approval

Recommended Action: Approve the Notice of Completion.  Authorize the Notice of Completion to be recorded with Tulare County.

Well 5: Bakersfield Well and Pump was delayed; hoping to have the rig available near the early part of December.  Then, hopefully we have a recommendation on how to proceed to get the well back into production; emergency work progressing as approved.

The draft letter that the PUD Board approved in November to the property owners of the property on Compton near Well 5 was sent.  One owner expressed an interest in leasing the property, but that is not our recommendation.

FUNDING ASSISTANCE APPLICATION

- Planning Grant and Construction Grant Applications to the State

The Planning Grant Application has been finalized and submitted to the State for

consideration.  The improvements would include the following:

Relocation of wastewater collection system improvements in the vicinity of

Court and Main Streets

Construction of a self-cleaning screen prior to the influent lift station at the

WWTF

Construction on pumps in the aeration tanks to allow for dewatering of the

aeration tanks when maintenance is required

Groundwater Monitoring Wells at the WWTF

Grit removal equipment at the WWTF

Sludge Drying Bed improvements at the WWTF

The State has assigned a Project Manager to the project application.   The Project Manager has requested some additional information, which was submitted.  PPUD sent the State the two-year budget.  Provost & Pritchard staff sent requested additional information.  State issuing a project manager.

The State has responded that the information appeared to be complete and that Pixley PUD may expect and executed agreement in 9 to 12 months from now.

Recommended Action: Board’s pleasure

- Interim Emergency Drinking Water and Drought Related Drinking Water Funding

The Project received the final Grant Contract from the State.  A kickoff meeting with the State was conducted and a task order was authorized for Provost & Pritchard to perform the design.  Design has been initiated.

Recommended Action: Board’s pleasure

- Drought Relief Grant Applications to the Department of Water Resources

A Contract for the funding is expected from the Department of Water Resources has been received.

- Well 4 Rehabilitation

This project would rehabilitate the Well 4 well casing in a manner similar to the work performed on Well 3A.  An initial site visit may offer an option of a new well on the site as the rehabilitation effort rather than pulling the existing pump – due  the recent experience of Well 2A.  Communications with DWR and DDW will be initiated soon.  The project would include a standby generator for Well 4.  Funding has been approved for this project by DWR.  Communications with DWR and DDW have been initiated and we are awaiting conceptual approval from DDW.  Planning staff has re-submitted the CDQA documents to cover the new work.  One option that has come up in the Well 4 discussion is to completely demolish the building at Well 4 and construct a small storage unit behind the existing office.  What are the Board’s thoughts on this?

A copy of the Addendum to the Water Supply and Distribution Improvement Project, Mitigated Negative Declaration is attached for review.  It is suggested that the Addendum be considered for approval.

- Water main in Elm and loops to School Street

This project would provide a 10 inch main extension in Elm from Joanne to Ellsworth.  In addition, this project would loop the waterlines in Carol, Holste, Sarah, and Diane to School Street.  Funding ha been approved for this project by DWR.  Construction Documents have been started.  Potential Schedule:  Advertise November 4 and 18, Site review November 15, Bid Opening December 5. Would require authorization to award from DWR.  Hope to award before the end of 2022 and begin construction January 2023.

The total grant of $1,896,677 is not considered to be sufficient.  A request for additional funds has been submitted.

Recommended Action: Approve the Addendum to the Water Supply and Distribution Improvement Project.

- TCP PLANNING GRANT APPLICATIONS TO THE STATE WATER RESOURCES CONTROL BOARD – WELL 5, WELL 3A, WELL 2A AND 4

The Applications were submitted to the State for processing on June 23, 2020.

The State has authorized Self Help Enterprises with a Technical Assistance Grant for the project.

Design and environmental work have begun.

Recommended Action: Board’s pleasure

- IRWM GRANT TO EVALUATE IMPROVING THE WATER LINE NORTH OF COURT ALONG PARK. ($2,000,000 grant)

- Water Main Loop Across State Route 99

This project would provide for a 12-inch main across State Route 99 north of Howard.  The project would extend a 12-inch main north in Park Drive.  The water main would loop from Main to Howard.  Funding has been received from the County of Tulare for this project.

The property owner east of Park Drive and south of the Memorial Building will construct the water main across its frontage.

Several easements have been offered to the PPUD for the water main extension project.

Potential Schedule:  Advertise November 4 and 18, Site review November 15, Bid Opening December 5.  Would require authorization to award from County of Tulare.  Hope to award before the end of 2022 and begin construction January 2023

Recommended Action: Board’s pleasure

TULE BASIN WATER QUALITY COALITION – WATER FILL STATION

The Tule Basin Water Quality Coalition is requesting to enter into an agreement with the Pixley PUD for the installation and operation of a water fill station.  The proposed location is the southeast corner of the tank site on School Street north of Terra Bella.

Updated information has been received and reviewed.  Comments have been returned to the applicant.  An updated draft contract has been submitted to the Board for review.  In addition, a request was made for a Memorandum of Understanding concerning the potential for periodic observation by PPUD staff.

Recommended Action: Consider Contract and MOU

Funding Application for Backup Power Supply

PPUD may be eligible to received funding for standby power facilities at Well 3A and Well 4.  An application form is attached for review and approval to submit.  The deadline to submit is December 7, 2022

Recommended Action: Approve application for submittal.

Water Supply Permit

PPUD received a letter from California Water Board concerning TCP at Well 6.  PPUD staff will include Well 6 in subsequent quarterly notifications.

- TOOLS & MAINTENANCE

- OTHER MATTERS

- Update/ District Opening

- BOARD MEMBER COMMUNICATIONS

- ADJOURNMENT

Materials related to an item on this Agenda submitted to the legislative body after distribution of the agenda packet are available for public inspection at Pixley Public Utility District, 232 East Davis Avenue Pixley, during normal business hours.“This institution is an equal opportunity provider and employer.  Communication for Hearing Impaired: the TTY/TDD number is: (800)654-5984, voice only: (800)654-5988.  Waste Water Services are provided on an Equal Opportunity basis.  Reasonable accommodations for alternative means of communications or access of individuals with disabilities will be made upon request.  Call: (559)757-3878 to request accommodation.”